## PoI viewpoint
PoI# | Purpose of Investigation | Type of effect | Short explanation | 0) Target Metric(s) | Formula (optional: List of parameters for metric) | 1) Factors available | 2) Factors in screening | 3) Factor ranking
1 | Time delay characterization for the geographically distributed real-time simulation system | uncertainty | The time delay of a GDRTS setup presents non-periodic behaviour with remarkable variability, which may be attributed to various factors, including 1.signal conversion 2. coding and decoding of the interfacing signals 3. data communication across the internet 4. loss of UDP packets All of these factors are intrinsic properties of the GDRTS system. Consequenctly, this is an aleatory uncertainty. The non-periodic and time-varying time delay is a critical uncertainty factor that necessitates thorough characterization and quantification before implementating the time delay compensation method. | 1. voltage and current phase shift (error) 2. active and reactive power error at the point of common coupling (PoC) |  | 3.1-data packet loss;3.2-Communication latency;3.2-data packet loss;3.3-Experimental measurement offset;3.3-data packet loss | 3.2-Communication latency | 1
2
3
4

## SC Definition & Diagrams
System Component List | [5 empty] | System Illustrations
ID | Subs. # | Subsystem Name | Comp. # | Component Name | Description
1.1 | 1 | Real-time simulation system in RI1 |  |  | A simulated system, deployed in a digital real-time simulator, which is interfaced with HIL physical setup and communicates with external GRTDS system
1.2 | 1 | HIL system in RI1 |  |  | A HIL setup comprises the power amplifier that acts as a grid emulator and hardware under test which include but are not limited to power converters, load, electrical vehicles, and renewable energy systems.
2.1 | 2 | Real-time simulation system in RI2 |  |  | A simulated system, deployed in a digital real-time simulator, which is interfaced with HIL physical setup and communicates with external GRTDS system
2.2 | 2 | HIL system in RI2 |  |  | A HIL setup comprises the power amplifier that acts as a grid emulator and hardware under test which include but are not limited to power converters, load, electrical vehicles, and renewable energy systems.
3.1 | 3 | GDRTS interface system in RI1 |  |  | A dedicated interfacing system comprised of signal conversion units, data processing, data packaging and transmission units, etc.
3.2 | 3 | Data communication based GDRTS interface between RI1 and RI2 |  |  | Internet-based data communication channel enabling signal exchange between Ris
3.3 | 3 | GDRTS interface system in RI2 |  |  | A dedicated interfacing system comprised of signal conversion units, data processing, data packaging and transmission units, etc.
System Configuration Example
GDRTS: Geographically Distributed Real-time simulation; HIL: Hardware-in-the-Loop; RI: Research Infruastructure
[7 empty] | 1.2 | 1.1 | 3.1 | 3.2 | 3.3 | 2.1 | 2.2
[7 empty] | 1 |  | 3 |  |  | 2

## SC Parameter Analysis
Param | Component |  | Parameter Name | Unit | Default Value | Range |  | Type of uncertainty | Randomness or Lack of Knowledge/Data? | Uncertainty Representation Type | Short explanation for Representation Type | 1) Potential factor? | PoI Factor Analysis
idx | Component Name (automatic) | SC Subsystem ID |  |  |  | min | max |  | (automatic suggestion) |  |  |  | PoI # | PoI Target metric (automatic) | 2) Factor in screening for PoI? | 3) Factor ranking | 4) Mapping to experimental Parameter and Range
1.1-Synchronization and interface between multiple domain simulations at different time scales | Real-time simulation system in RI1 | 1.1 | Synchronization and interface between multiple domain simulations at different time scales |  |  |  |  | model uncertainty | epistemic | Set |  |  |  | #N/A |  | level (1... 3) | Range of parameter values or deviation from default value (Default range: [; ])
1.1-Synchronization and interface between multi-vendor simulation platforms with different time steps | Real-time simulation system in RI1 | 1.1 | Synchronization and interface between multi-vendor simulation platforms with different time steps |  |  |  |  | model (structure) uncertainty | epistemic | Set |  |  |  | #N/A |  | 2
1.2-Experimental measurement offset | HIL system in RI1 | 1.2 | Experimental measurement offset |  |  |  |  | (white) noise | epistemic and aleatory | Set |  |  |  | #N/A
2.1-Synchronization and interface between multiple domain simulations at different time scales | Real-time simulation system in RI2 | 2.1 | Synchronization and interface between multiple domain simulations at different time scales |  |  |  |  | model uncertainty | epistemic | Set |  |  |  | #N/A
2.1-Synchronization and interface between multi-vendor simulation platforms with different time steps | Real-time simulation system in RI2 | 2.1 | Synchronization and interface between multi-vendor simulation platforms with different time steps |  |  |  |  | model uncertainty | epistemic | Set |  |  |  | #N/A
2.2-Experimental measurement offset | HIL system in RI2 | 2.2 | Experimental measurement offset |  |  |  |  | (white) noise | aleatory | Set |  |  |  | #N/A
3.1-Experimental measurement offset | GDRTS interface system in RI1 | 3.1 | Experimental measurement offset |  |  |  |  | (white) noise | aleatory | Set |  |  |  | #N/A
3.1-data packet loss | GDRTS interface system in RI1 | 3.1 | data packet loss |  |  |  |  | model (structure) uncertainty | epistemic | Set |  | x | 1 | 1. voltage and current phase shift (error) 2. active and reactive power error at the point of common coupling (PoC)
3.2-Communication latency | Data communication based GDRTS interface between RI1 and RI2 | 3.2 | Communication latency |  |  |  |  | seasonal and random variability | epistemic and aleatory | Distribution | Characterization outcome. | x | 1 | 1. voltage and current phase shift (error) 2. active and reactive power error at the point of common coupling (PoC) | x | 1
3.2-data packet loss | Data communication based GDRTS interface between RI1 and RI2 | 3.2 | data packet loss |  |  |  |  | spatial uncertainty | epistemic and aleatory | Set |  | x | 1 | 1. voltage and current phase shift (error) 2. active and reactive power error at the point of common coupling (PoC)
3.3-Experimental measurement offset | GDRTS interface system in RI2 | 3.3 | Experimental measurement offset |  |  |  |  | (white) noise | aleatory | Set |  | x | 1 | 1. voltage and current phase shift (error) 2. active and reactive power error at the point of common coupling (PoC)
3.3-data packet loss | GDRTS interface system in RI2 | 3.3 | data packet loss |  |  |  |  | model (structure) uncertainty | epistemic | Set |  | x | 1 | 1. voltage and current phase shift (error) 2. active and reactive power error at the point of common coupling (PoC)
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A

## ES viewpoint
Experiment Name | Experiment Setup Type | Representational Uncertainty | Discussion of specific representation issues | Other Type of RI Uncertainty | Discussion of other specific RI uncertainty issues | Precision of equipment | Measurement Uncertainty
Demonstration 2: Time delay characterization and compensation for the geographically distributed real-time simulation system | Pure simulation/Co-simulation/multiple RIs | Time delay (communication latency) between geographically distributed real-time simulation system (Aleatory uncertainty) | The non-periodic variability of the time delay in GDRTS may be attributed to various factors, including 1.signal conversion 2. coding and decoding of the interfacing signals 3. data communication across the internet 4. loss of UDP packets All of these factors are intrinsic properties of the GDRTS system. Consequently, this is an aleatory uncertainty | 1. Experimental measurement offset stems from sensor noise and offset, signal conversion quantization noise, etc. 2. Owing to the different real-time simulation platforms used in different Ris, the time steps for the simulated system are different. 3. Provided multi-domain systems are simulated using the GDRTS system across multiple RIS, the synchronization of the signals with different time scales presents uncertainty. | 1. Experimental measurement offset stems from sensor noise and offset, signal conversion quantization noise, etc. 2. Owing to the different real-time simulation platforms used in different Ris, the time steps for the simulated system are different. 3. Provided multi-domain systems are simulated using the GDRTS system across multiple RIS, the synchronization of the signals with different time scales presents uncertainty. | UDP packet loss Data sending/receiving rate | Experimental measurement offset (voltage/current sensors)

## Taxonomy
[8 empty] | Screening Factors | PoI | Selected? |  |  | Ranked Factors | Rank | PoI | Selected? |  |  | Potential Factors | Selected? |  |  | Available Options
Type of Uncertainty | Classification of Uncertainty | Type of Representation | relation to model | PoI effect type | Experiment Setup Type | Representational uncertainty | Other type of RI uncertainty |  |  | FALSE | 1 | #DIV/0! |  |  |  | FALSE | 1 | #DIV/0! |  | FALSE | 1 | #DIV/0! | x
seasonal and random variability | epistemic and aleatory | Interval |  | uncertainty | Pure simulation/monolithic/single RI | Model accuracy Type of simulation (EMT vs RMS vs Power Flow) | Simulator Limitations Computational capacity |  |  | FALSE | 2 | #DIV/0! | 1.1-Synchronization and interface between multi-vendor simulation platforms with different time steps | 2 | 0 | TRUE | 2 | 2 |  | FALSE | 2 | #DIV/0! | X
spatial uncertainty | epistemic and aleatory | Distribution |  | sensitivity | Pure simulation/Co-simulation/single RI | Model accuracy Type of simulation (EMT vs RMS vs Power Flow) | Synchronization and interface between multi-vendor simulation platforms with different time scales Synchronization and interface between multiple domain simulations at different time scales Computanional capacity |  |  | FALSE | 3 | #DIV/0! |  |  |  | FALSE | 3 | #DIV/0! |  | FALSE | 3 | #DIV/0! | Y
seasonal variability and spatial uncertainty | epistemic and aleatory | P-Box |  | scaling effect | Pure simulation/monolithic/multiple RIs | Model accuracy Type of simulation (EMT vs RMS vs Power Flow) | Signal exchange synchronization due to communication delays (only for the case of online/real-time data exchange) Package loss Computational capacity |  |  | FALSE | 4 | #DIV/0! |  |  |  | FALSE | 4 | #DIV/0! |  | FALSE | 4 | #DIV/0! | y
uncertain initial state | epistemic and aleatory | Set |  |  | Pure simulation/Co-simulation/multiple RIs | Model accuracy Type of simulation (EMT vs RMS vs Power Flow) | Signal exchange synchronization due to communication delays (only for the case of online/real-time data exchange) Package loss Computational capacity |  |  | FALSE | 5 | #DIV/0! |  |  |  | FALSE | 5 | #DIV/0! |  | FALSE | 5 | #DIV/0! | 1
Uncertain parameter | epistemic and aleatory | Fuzzy Set |  |  | HIL/single RI | Limited bandwidth of the HIL setup Experimental measurement (e.g. sensor noise, signal convension card quantization noise) Time-steps of the real-time simulator HIL setup time delay and instability Limited capability of the power amplifier for PHIL test (voltage level, power capability) Model accuracy I/O cards' sampling rate |  |  |  | FALSE | 6 | #DIV/0! |  |  |  | FALSE | 6 | #DIV/0! |  | FALSE | 6 | #DIV/0! | 2
control parameter | epistemic | Fuzzy Interval |  |  | PSIL/single RI | Model accuracy |  |  |  | FALSE | 7 | #DIV/0! |  |  |  | FALSE | 7 | #DIV/0! |  | FALSE | 7 | #DIV/0! | 3
model (structure) uncertainty | epistemic | Dempster-Shafer Structure (DSS) |  |  | HIL/multiple RIs | Limited bandwidth of the HIL setup Experimental measurement (e.g. sensor noise, signal convension card quantization noise) Time-step difference of the real-time simulator for each RI HIL setup time delay and instability Limited capability of the power amplifier for PHIL test (voltage level, power capability) Model accuracy | Signal exchange synchronization due to communication delays (only for the case of online/real-time data exchange) Package loss |  |  | FALSE | 8 | #DIV/0! |  |  |  | FALSE | 8 | #DIV/0! | 3.1-data packet loss | TRUE | 8 | 8
model uncertainty | epistemic | Random Fuzzy Variables (RFV) |  |  | Pure HW/Single RI | Lab feasible grid parameters | Measurement | 3.2-Communication latency | 1 | TRUE | 9 | 9 | 3.2-Communication latency | 1 | 1 | TRUE | 9 | 9 | 3.2-Communication latency | TRUE | 9 | 9
(white) noise | aleatory |  |  |  | Pure HW/Multiple Ris |  | Signal exchange synchronization due to communication delays (only for the case of online/real-time data exchange) Package loss |  |  | FALSE | 10 | #DIV/0! |  |  |  | FALSE | 10 | #DIV/0! | 3.2-data packet loss | TRUE | 10 | 10
[5 empty] | Other combination |  |  |  |  | FALSE | 11 | #DIV/0! |  |  |  | FALSE | 11 | #DIV/0! | 3.3-Experimental measurement offset | TRUE | 11 | 11
[10 empty] | FALSE | 12 | #DIV/0! |  |  |  | FALSE | 12 | #DIV/0! | 3.3-data packet loss | TRUE | 12 | 12
[10 empty] | FALSE | 13 | #DIV/0! |  |  |  | FALSE | 13 | #DIV/0! |  | FALSE | 13 | #DIV/0!
[10 empty] | FALSE | 14 | #DIV/0! |  |  |  | FALSE | 14 | #DIV/0! |  | FALSE | 14 | #DIV/0!
[10 empty] | FALSE | 15 | #DIV/0! |  |  |  | FALSE | 15 | #DIV/0! |  | FALSE | 15 | #DIV/0!
[10 empty] | FALSE | 16 | #DIV/0! |  |  |  | FALSE | 16 | #DIV/0! |  | FALSE | 16 | #DIV/0!
[10 empty] | FALSE | 17 | #DIV/0! |  |  |  | FALSE | 17 | #DIV/0! |  | FALSE | 17 | #DIV/0!
[10 empty] | FALSE | 18 | #DIV/0! |  |  |  | FALSE | 18 | #DIV/0! |  | FALSE | 18 | #DIV/0!
[10 empty] | FALSE | 19 | #DIV/0! |  |  |  | FALSE | 19 | #DIV/0! |  | FALSE | 19 | #DIV/0!
[10 empty] | FALSE | 20 | #DIV/0! |  |  |  | FALSE | 20 | #DIV/0! |  | FALSE | 20 | #DIV/0!
[10 empty] | FALSE | 21 | #DIV/0! |  |  |  | FALSE | 21 | #DIV/0! |  | FALSE | 21 | #DIV/0!
[10 empty] | FALSE | 22 | #DIV/0! |  |  |  | FALSE | 22 | #DIV/0! |  | FALSE | 22 | #DIV/0!
[10 empty] | FALSE | 23 | #DIV/0! |  |  |  | FALSE | 23 | #DIV/0! |  | FALSE | 23 | #DIV/0!
[10 empty] | FALSE | 24 | #DIV/0! |  |  |  | FALSE | 24 | #DIV/0! |  | FALSE | 24 | #DIV/0!
[10 empty] | FALSE | 25 | #DIV/0! |  |  |  | FALSE | 25 | #DIV/0! |  | FALSE | 25 | #DIV/0!
[10 empty] | FALSE | 26 | #DIV/0! |  |  |  | FALSE | 26 | #DIV/0! |  | FALSE | 26 | #DIV/0!
[10 empty] | FALSE | 27 | #DIV/0! |  |  |  | FALSE | 27 | #DIV/0! |  | FALSE | 27 | #DIV/0!
[10 empty] | FALSE | 28 | #DIV/0! |  |  |  | FALSE | 28 | #DIV/0! |  | FALSE | 28 | #DIV/0!
[10 empty] | FALSE | 29 | #DIV/0! |  |  |  | FALSE | 29 | #DIV/0! |  | FALSE | 29 | #DIV/0!
[10 empty] | FALSE | 30 | #DIV/0! |  |  |  | FALSE | 30 | #DIV/0! |  | FALSE | 30 | #DIV/0!
[10 empty] | FALSE | 31 | #DIV/0! |  |  |  | FALSE | 31 | #DIV/0! |  | FALSE | 31 | #DIV/0!
[10 empty] | FALSE | 32 | #DIV/0! |  |  |  | FALSE | 32 | #DIV/0! |  | FALSE | 32 | #DIV/0!
[10 empty] | FALSE | 33 | #DIV/0! |  |  |  | FALSE | 33 | #DIV/0! |  | FALSE | 33 | #DIV/0!
[10 empty] | FALSE | 34 | #DIV/0! |  |  |  | FALSE | 34 | #DIV/0! |  | FALSE | 34 | #DIV/0!
[10 empty] | FALSE | 35 | #DIV/0! |  |  |  | FALSE | 35 | #DIV/0! |  | FALSE | 35 | #DIV/0!
[10 empty] | FALSE | 36 | #DIV/0! |  |  |  | FALSE | 36 | #DIV/0! |  | FALSE | 36 | #DIV/0!
[10 empty] | FALSE | 37 | #DIV/0! |  |  |  | FALSE | 37 | #DIV/0! |  | FALSE | 37 | #DIV/0!
[10 empty] | FALSE | 38 | #DIV/0! |  |  |  | FALSE | 38 | #DIV/0! |  | FALSE | 38 | #DIV/0!
[10 empty] | FALSE | 39 | #DIV/0! |  |  |  | FALSE | 39 | #DIV/0! |  | FALSE | 39 | #DIV/0!
[10 empty] | FALSE | 40 | #DIV/0! |  |  |  | FALSE | 40 | #DIV/0! |  | FALSE | 40 | #DIV/0!
[10 empty] | FALSE | 41 | #DIV/0! |  |  |  | FALSE | 41 | #DIV/0! |  | FALSE | 41 | #DIV/0!
[10 empty] | FALSE | 42 | #DIV/0! |  |  |  | FALSE | 42 | #DIV/0! |  | FALSE | 42 | #DIV/0!
[10 empty] | FALSE | 43 | #DIV/0! |  |  |  | FALSE | 43 | #DIV/0! |  | FALSE | 43 | #DIV/0!
[10 empty] | FALSE | 44 | #DIV/0! |  |  |  | FALSE | 44 | #DIV/0! |  | FALSE | 44 | #DIV/0!
[10 empty] | FALSE | 45 | #DIV/0! |  |  |  | FALSE | 45 | #DIV/0! |  | FALSE | 45 | #DIV/0!
[10 empty] | FALSE | 46 | #DIV/0! |  |  |  | FALSE | 46 | #DIV/0! |  | FALSE | 46 | #DIV/0!
[10 empty] | FALSE | 47 | #DIV/0! |  |  |  | FALSE | 47 | #DIV/0! |  | FALSE | 47 | #DIV/0!
[10 empty] | FALSE | 48 | #DIV/0! |  |  |  | FALSE | 48 | #DIV/0! |  | FALSE | 48 | #DIV/0!
[10 empty] | FALSE | 49 | #DIV/0! |  |  |  | FALSE | 49 | #DIV/0! |  | FALSE | 49 | #DIV/0!
[10 empty] | FALSE | 50 | #DIV/0! |  |  |  | FALSE | 50 | #DIV/0! |  | FALSE | 50 | #DIV/0!
[10 empty] | FALSE | 51 | #DIV/0! |  |  |  | FALSE | 51 | #DIV/0! |  | FALSE | 51 | #DIV/0!
[10 empty] | FALSE | 52 | #DIV/0! |  |  |  | FALSE | 52 | #DIV/0! |  | FALSE | 52 | #DIV/0!
[10 empty] | FALSE | 53 | #DIV/0! |  |  |  | FALSE | 53 | #DIV/0! |  | FALSE | 53 | #DIV/0!
[10 empty] | FALSE | 54 | #DIV/0! |  |  |  | FALSE | 54 | #DIV/0! |  | FALSE | 54 | #DIV/0!
[10 empty] | FALSE | 55 | #DIV/0! |  |  |  | FALSE | 55 | #DIV/0! |  | FALSE | 55 | #DIV/0!
[10 empty] | FALSE | 56 | #DIV/0! |  |  |  | FALSE | 56 | #DIV/0! |  | FALSE | 56 | #DIV/0!
[10 empty] | FALSE | 57 | #DIV/0! |  |  |  | FALSE | 57 | #DIV/0! |  | FALSE | 57 | #DIV/0!
[10 empty] | FALSE | 58 | #DIV/0! |  |  |  | FALSE | 58 | #DIV/0! |  | FALSE | 58 | #DIV/0!
[10 empty] | FALSE | 59 | #DIV/0! |  |  |  | FALSE | 59 | #DIV/0! |  | FALSE | 59 | #DIV/0!
[10 empty] | FALSE | 60 | #DIV/0! |  |  |  | FALSE | 60 | #DIV/0! |  | FALSE | 60 | #DIV/0!
[10 empty] | FALSE | 61 | #DIV/0! |  |  |  | FALSE | 61 | #DIV/0! |  | FALSE | 61 | #DIV/0!
[10 empty] | FALSE | 62 | #DIV/0! |  |  |  | FALSE | 62 | #DIV/0! |  | FALSE | 62 | #DIV/0!
[10 empty] | FALSE | 63 | #DIV/0! |  |  |  | FALSE | 63 | #DIV/0! |  | FALSE | 63 | #DIV/0!
[10 empty] | FALSE | 64 | #DIV/0! |  |  |  | FALSE | 64 | #DIV/0! |  | FALSE | 64 | #DIV/0!
[10 empty] | FALSE | 65 | #DIV/0! |  |  |  | FALSE | 65 | #DIV/0! |  | FALSE | 65 | #DIV/0!
[10 empty] | FALSE | 66 | #DIV/0! |  |  |  | FALSE | 66 | #DIV/0! |  | FALSE | 66 | #DIV/0!
[10 empty] | FALSE | 67 | #DIV/0! |  |  |  | FALSE | 67 | #DIV/0! |  | FALSE | 67 | #DIV/0!