## PoI viewpoint
PoI# | Purpose of Investigation | Type of effect | Short explanation | 0) Target Metric(s) | Formula (optional: List of parameters for metric) | 1) Factors available | 2) Factors in screening | 3) Ranked factors
1 | Screening effects and variability of key optimisation targets on available parameters | uncertainty |  | Degradation_Li; Losses_HESS
2 | Characterization of first order and higher order effects of selected parameters | sensitivity
3 | Non-linear Characterisation of input-output effects for identified key parameters | sensitivity
4 | Validation

## SC Definition & Diagrams
System Component List | [5 empty] | System Illustrations
ID | Subs. # | Subsystem Name | Comp. # | Component Name | Description
1.1 | 1 | Control System | 1 | Controller | real-time controller
2.1 | 2 | Energy Storage | 1 | Super Cap (SC)
2.2 | 2 | Energy Storage | 2 | Lithium Battery
2.3 | 2 | Energy Storage | 3 | VRB
3.1 | 3 | Grid | 1 | PCC | point of common coupling |  | System Configuration
4.1 | 4 | Framework | 1 | sampler | Simulation and experiment framework code
Pset_HESS
Controller
[10 empty] | rf | sc
[9 empty] | Pset_SC |  | Pset_Li |  | Pset_VRB
[8 empty] | Super Capacitor |  | LithiumBattery |  | Vanadium-Redox Flow Battery
[8 empty] | SC | P_SC,max | Li | P_Li,max | VRB |  | P_VRB,max
[8 empty] | eta_SC | E_SC,max | eta_Li | E_Li,max | eta_VRB |  | E_VRB,max
[9 empty] | P_SC_meas |  | P_Li_meas |  | P_VRB_meas
P_HESS_meas

## SC Parameter Analysis
Param | Component |  | Parameter Name | Unit | Default Value | Range |  | Type of uncertainty | Randomness or Lack of Knowledge/Data? | Uncertainty Representation Type | Short explanation for Representation Type | 1) Potential factor? | PoI Factor Analysis
idx | Component Name (automatic) | SC Subsystem ID |  |  |  | min | max |  | (automatic suggestion) |  |  |  | PoI # | PoI Target metric (automatic) | 2) Factor in screening for PoI? | 3) Factor ranking | 4) Mapping to experimental Parameter and Range
1.1-restoration factor (rf) | Controller | 1.1 | restoration factor (rf) | [-] | 3 | 2 | 4 | control parameter | epistemic | Interval |  | X | 1 | Degradation_Li; Losses_HESS | x |  | Range of parameter values or deviation from default value (Default range: [2; 4])
1.1-VRB capacity fraction (cf) | Controller | 1.1 | VRB capacity fraction (cf) | [-] | 0.5 | 0.3 | 0.7 | control parameter | epistemic | Interval |  | x | 1 | Degradation_Li; Losses_HESS
1.1-P_set_HESS | Controller | 1.1 | P_set_HESS | [kW] | 0 | 0 | 45 | Uncertain parameter | epistemic and aleatory | Set | Representation as a set of random sample sequences of 1-2h duration; "blocking factor" | x | 1 | Degradation_Li; Losses_HESS | blocking
2.1-P_SC,max | Super Cap (SC) | 2.1 | P_SC,max | [kW] |  |  |  | control parameter | epistemic | Interval | constrained by P_Hess, Max and other storage power caps | x | 1 | Degradation_Li; Losses_HESS |  |  | a_SC*P_HESS,max
2.1-E_SC,max | Super Cap (SC) | 2.1 | E_SC,max | [kWh] |  |  |  |  | #N/A |  |  |  |  | #N/A
2.1-eta_SC | Super Cap (SC) | 2.1 | eta_SC | [-] |  |  |  |  | #N/A |  |  |  |  | #N/A
2.1-P_Li,max | Super Cap (SC) | 2.1 | P_Li,max | [kW] |  |  |  | control parameter | epistemic | Interval | constrained by P_Hess, Max and other storage power caps | x | 1 | Degradation_Li; Losses_HESS |  |  | a_Li*P_HESS,max
2.2-E_Li,max | Lithium Battery | 2.2 | E_Li,max | [kWh] |  |  |  |  | #N/A |  |  |  |  | #N/A
2.2-eta_Li | Lithium Battery | 2.2 | eta_Li | [-] |  |  |  |  | #N/A |  |  |  |  | #N/A
2.3-P_VRB,max | VRB | 2.3 | P_VRB,max | [kW] |  |  |  | control parameter | epistemic | Interval | constrained by P_Hess, Max and other storage power caps | x | 1 | Degradation_Li; Losses_HESS |  |  | (1-a_SC-a_Li)*P_HESS,max
2.3-E_VRB,max | VRB | 2.3 | E_VRB,max | [kWh] |  |  |  |  | #N/A |  |  |  |  | #N/A
2.3-eta_VRB | VRB | 2.3 | eta_VRB | [-] |  |  |  |  | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A
| #N/A | [7 empty] | #N/A |  |  |  |  | #N/A

## ES viewpoint
Experiment Name | Experiment Setup Type | Representational Uncertainty (automatic suggestion) | Discussion of specific representation issues | Other Type of RI Uncertainty (automatic suggestion) | Discussion of other specific RI uncertainty issues | Precision of equipment | Measurement Uncertainty
| Pure simulation/monolithic/single RI | Model accuracy Type of simulation (EMT vs RMS vs Power Flow) | Simulation setup with same controller as in Lab, but with simplified storage models. Model quality uncertain | Simulator Limitations Computational capacity | <Add your own text> | fixed Round-trip delay of 1s
| Pure HW/Single RI | Lab feasible grid parameters | Full HW setup with custom interfaces - i.e. interfaces are not commercial type; fixed 1s sampling; input data extrinsic | Measurement | power and SOC measurement; epsecially SOC is device-automation dependent and thus source of uncertainty
|  | #N/A |  | #N/A
|  | #N/A |  | #N/A
|  | #N/A |  | #N/A
|  | #N/A |  | #N/A
|  | #N/A |  | #N/A
|  | #N/A |  | #N/A
|  | #N/A |  | #N/A
|  | #N/A |  | #N/A
|  | #N/A |  | #N/A
|  | #N/A |  | #N/A
|  | #N/A |  | #N/A
|  | #N/A |  | #N/A
|  | #N/A |  | #N/A
|  | #N/A |  | #N/A
|  | #N/A |  | #N/A
|  | #N/A |  | #N/A
|  | #N/A |  | #N/A
|  | #N/A |  | #N/A
|  | #N/A |  | #N/A
|  | #N/A |  | #N/A
|  | #N/A |  | #N/A
|  | #N/A |  | #N/A
|  | #N/A |  | #N/A
|  | #N/A |  | #N/A
|  | #N/A |  | #N/A
|  | #N/A |  | #N/A
|  | #N/A |  | #N/A

## Taxonomy
[8 empty] | Screening Factors | PoI | Selected? |  |  | Ranked Factors | Rank | PoI | Selected? |  |  | Potential Factors | Selected? |  |  | Available Options
Type of Uncertainty | Classification of Uncertainty | Type of Representation | relation to model | PoI effect type | Experiment Setup Type | Representational uncertainty | Other type of RI uncertainty | 1.1-restoration factor (rf) | 1 | TRUE | 1 | 1 |  |  |  | FALSE | 1 | #DIV/0! | 1.1-restoration factor (rf) | TRUE | 1 | 1 | x
seasonal and random variability | epistemic and aleatory | Interval |  | uncertainty | Pure simulation/monolithic/single RI | Model accuracy Type of simulation (EMT vs RMS vs Power Flow) | Simulator Limitations Computational capacity |  |  | FALSE | 2 | #DIV/0! |  |  |  | FALSE | 2 | #DIV/0! | 1.1-VRB capacity fraction (cf) | TRUE | 2 | 2 | X
spatial uncertainty | epistemic and aleatory | Distribution |  | sensitivity | Pure simulation/Co-simulation/single RI | Model accuracy Type of simulation (EMT vs RMS vs Power Flow) | Synchronization and interface between multi-vendor simulation platforms with different time scales Synchronization and interface between multiple domain simulations at different time scales Computanional capacity |  |  | FALSE | 3 | #DIV/0! |  |  |  | FALSE | 3 | #DIV/0! | 1.1-P_set_HESS | TRUE | 3 | 3 | Y
seasonal variability and spatial uncertainty | epistemic and aleatory | P-Box |  | scaling effect | Pure simulation/monolithic/multiple RIs | Model accuracy Type of simulation (EMT vs RMS vs Power Flow) | Signal exchange synchronization due to communication delays (only for the case of online/real-time data exchange) Package loss Computational capacity |  |  | FALSE | 4 | #DIV/0! |  |  |  | FALSE | 4 | #DIV/0! | 2.1-P_SC,max | TRUE | 4 | 4 | y
uncertain initial state | epistemic and aleatory | Set |  |  | Pure simulation/Co-simulation/multiple RIs | Model accuracy Type of simulation (EMT vs RMS vs Power Flow) | Signal exchange synchronization due to communication delays (only for the case of online/real-time data exchange) Package loss Computational capacity |  |  | FALSE | 5 | #DIV/0! |  |  |  | FALSE | 5 | #DIV/0! |  | FALSE | 5 | #DIV/0! | 1
Uncertain parameter | epistemic and aleatory | Fuzzy Set |  |  | HIL/single RI | Limited bandwidth of the HIL setup Experimental measurement (e.g. sensor noise, signal convension card quantization noise) Time-steps of the real-time simulator HIL setup time delay and instability Limited capability of the power amplifier for PHIL test (voltage level, power capability) Model accuracy I/O cards' sampling rate |  |  |  | FALSE | 6 | #DIV/0! |  |  |  | FALSE | 6 | #DIV/0! |  | FALSE | 6 | #DIV/0! | 2
control parameter | epistemic | Fuzzy Interval |  |  | PSIL/single RI | Model accuracy |  |  |  | FALSE | 7 | #DIV/0! |  |  |  | FALSE | 7 | #DIV/0! | 2.1-P_Li,max | TRUE | 7 | 7 | 3
model (structure) uncertainty | epistemic | Dempster-Shafer Structure (DSS) |  |  | HIL/multiple RIs | Limited bandwidth of the HIL setup Experimental measurement (e.g. sensor noise, signal convension card quantization noise) Time-step difference of the real-time simulator for each RI HIL setup time delay and instability Limited capability of the power amplifier for PHIL test (voltage level, power capability) Model accuracy | Signal exchange synchronization due to communication delays (only for the case of online/real-time data exchange) Package loss |  |  | FALSE | 8 | #DIV/0! |  |  |  | FALSE | 8 | #DIV/0! |  | FALSE | 8 | #DIV/0!
model uncertainty | epistemic | Random Fuzzy Variables (RFV) |  |  | Pure HW/Single RI | Lab feasible grid parameters | Measurement |  |  | FALSE | 9 | #DIV/0! |  |  |  | FALSE | 9 | #DIV/0! |  | FALSE | 9 | #DIV/0!
(white) noise | aleatory |  |  |  | Pure HW/Multiple Ris |  | Signal exchange synchronization due to communication delays (only for the case of online/real-time data exchange) Package loss |  |  | FALSE | 10 | #DIV/0! |  |  |  | FALSE | 10 | #DIV/0! | 2.3-P_VRB,max | TRUE | 10 | 10
[5 empty] | Other combination |  |  |  |  | FALSE | 11 | #DIV/0! |  |  |  | FALSE | 11 | #DIV/0! |  | FALSE | 11 | #DIV/0!
[10 empty] | FALSE | 12 | #DIV/0! |  |  |  | FALSE | 12 | #DIV/0! |  | FALSE | 12 | #DIV/0!
[10 empty] | FALSE | 13 | #DIV/0! |  |  |  | FALSE | 13 | #DIV/0! |  | FALSE | 13 | #DIV/0!
[10 empty] | FALSE | 14 | #DIV/0! |  |  |  | FALSE | 14 | #DIV/0! |  | FALSE | 14 | #DIV/0!
[10 empty] | FALSE | 15 | #DIV/0! |  |  |  | FALSE | 15 | #DIV/0! |  | FALSE | 15 | #DIV/0!
[10 empty] | FALSE | 16 | #DIV/0! |  |  |  | FALSE | 16 | #DIV/0! |  | FALSE | 16 | #DIV/0!
[10 empty] | FALSE | 17 | #DIV/0! |  |  |  | FALSE | 17 | #DIV/0! |  | FALSE | 17 | #DIV/0!
[10 empty] | FALSE | 18 | #DIV/0! |  |  |  | FALSE | 18 | #DIV/0! |  | FALSE | 18 | #DIV/0!
[10 empty] | FALSE | 19 | #DIV/0! |  |  |  | FALSE | 19 | #DIV/0! |  | FALSE | 19 | #DIV/0!
[10 empty] | FALSE | 20 | #DIV/0! |  |  |  | FALSE | 20 | #DIV/0! |  | FALSE | 20 | #DIV/0!
[10 empty] | FALSE | 21 | #DIV/0! |  |  |  | FALSE | 21 | #DIV/0! |  | FALSE | 21 | #DIV/0!
[10 empty] | FALSE | 22 | #DIV/0! |  |  |  | FALSE | 22 | #DIV/0! |  | FALSE | 22 | #DIV/0!
[10 empty] | FALSE | 23 | #DIV/0! |  |  |  | FALSE | 23 | #DIV/0! |  | FALSE | 23 | #DIV/0!
[10 empty] | FALSE | 24 | #DIV/0! |  |  |  | FALSE | 24 | #DIV/0! |  | FALSE | 24 | #DIV/0!
[10 empty] | FALSE | 25 | #DIV/0! |  |  |  | FALSE | 25 | #DIV/0! |  | FALSE | 25 | #DIV/0!
[10 empty] | FALSE | 26 | #DIV/0! |  |  |  | FALSE | 26 | #DIV/0! |  | FALSE | 26 | #DIV/0!
[10 empty] | FALSE | 27 | #DIV/0! |  |  |  | FALSE | 27 | #DIV/0! |  | FALSE | 27 | #DIV/0!
[10 empty] | FALSE | 28 | #DIV/0! |  |  |  | FALSE | 28 | #DIV/0! |  | FALSE | 28 | #DIV/0!
[10 empty] | FALSE | 29 | #DIV/0! |  |  |  | FALSE | 29 | #DIV/0! |  | FALSE | 29 | #DIV/0!
[10 empty] | FALSE | 30 | #DIV/0! |  |  |  | FALSE | 30 | #DIV/0! |  | FALSE | 30 | #DIV/0!
[10 empty] | FALSE | 31 | #DIV/0! |  |  |  | FALSE | 31 | #DIV/0! |  | FALSE | 31 | #DIV/0!
[10 empty] | FALSE | 32 | #DIV/0! |  |  |  | FALSE | 32 | #DIV/0! |  | FALSE | 32 | #DIV/0!
[10 empty] | FALSE | 33 | #DIV/0! |  |  |  | FALSE | 33 | #DIV/0! |  | FALSE | 33 | #DIV/0!
[10 empty] | FALSE | 34 | #DIV/0! |  |  |  | FALSE | 34 | #DIV/0! |  | FALSE | 34 | #DIV/0!
[10 empty] | FALSE | 35 | #DIV/0! |  |  |  | FALSE | 35 | #DIV/0! |  | FALSE | 35 | #DIV/0!
[10 empty] | FALSE | 36 | #DIV/0! |  |  |  | FALSE | 36 | #DIV/0! |  | FALSE | 36 | #DIV/0!
[10 empty] | FALSE | 37 | #DIV/0! |  |  |  | FALSE | 37 | #DIV/0! |  | FALSE | 37 | #DIV/0!
[10 empty] | FALSE | 38 | #DIV/0! |  |  |  | FALSE | 38 | #DIV/0! |  | FALSE | 38 | #DIV/0!
[10 empty] | FALSE | 39 | #DIV/0! |  |  |  | FALSE | 39 | #DIV/0! |  | FALSE | 39 | #DIV/0!
[10 empty] | FALSE | 40 | #DIV/0! |  |  |  | FALSE | 40 | #DIV/0! |  | FALSE | 40 | #DIV/0!
[10 empty] | FALSE | 41 | #DIV/0! |  |  |  | FALSE | 41 | #DIV/0! |  | FALSE | 41 | #DIV/0!
[10 empty] | FALSE | 42 | #DIV/0! |  |  |  | FALSE | 42 | #DIV/0! |  | FALSE | 42 | #DIV/0!
[10 empty] | FALSE | 43 | #DIV/0! |  |  |  | FALSE | 43 | #DIV/0! |  | FALSE | 43 | #DIV/0!
[10 empty] | FALSE | 44 | #DIV/0! |  |  |  | FALSE | 44 | #DIV/0! |  | FALSE | 44 | #DIV/0!
[10 empty] | FALSE | 45 | #DIV/0! |  |  |  | FALSE | 45 | #DIV/0! |  | FALSE | 45 | #DIV/0!
[10 empty] | FALSE | 46 | #DIV/0! |  |  |  | FALSE | 46 | #DIV/0! |  | FALSE | 46 | #DIV/0!
[10 empty] | FALSE | 47 | #DIV/0! |  |  |  | FALSE | 47 | #DIV/0! |  | FALSE | 47 | #DIV/0!
[10 empty] | FALSE | 48 | #DIV/0! |  |  |  | FALSE | 48 | #DIV/0! |  | FALSE | 48 | #DIV/0!
[10 empty] | FALSE | 49 | #DIV/0! |  |  |  | FALSE | 49 | #DIV/0! |  | FALSE | 49 | #DIV/0!
[10 empty] | FALSE | 50 | #DIV/0! |  |  |  | FALSE | 50 | #DIV/0! |  | FALSE | 50 | #DIV/0!
[10 empty] | FALSE | 51 | #DIV/0! |  |  |  | FALSE | 51 | #DIV/0! |  | FALSE | 51 | #DIV/0!
[10 empty] | FALSE | 52 | #DIV/0! |  |  |  | FALSE | 52 | #DIV/0! |  | FALSE | 52 | #DIV/0!
[10 empty] | FALSE | 53 | #DIV/0! |  |  |  | FALSE | 53 | #DIV/0! |  | FALSE | 53 | #DIV/0!
[10 empty] | FALSE | 54 | #DIV/0! |  |  |  | FALSE | 54 | #DIV/0! |  | FALSE | 54 | #DIV/0!
[10 empty] | FALSE | 55 | #DIV/0! |  |  |  | FALSE | 55 | #DIV/0! |  | FALSE | 55 | #DIV/0!
[10 empty] | FALSE | 56 | #DIV/0! |  |  |  | FALSE | 56 | #DIV/0! |  | FALSE | 56 | #DIV/0!
[10 empty] | FALSE | 57 | #DIV/0! |  |  |  | FALSE | 57 | #DIV/0! |  | FALSE | 57 | #DIV/0!
[10 empty] | FALSE | 58 | #DIV/0! |  |  |  | FALSE | 58 | #DIV/0! |  | FALSE | 58 | #DIV/0!
[10 empty] | FALSE | 59 | #DIV/0! |  |  |  | FALSE | 59 | #DIV/0! |  | FALSE | 59 | #DIV/0!
[10 empty] | FALSE | 60 | #DIV/0! |  |  |  | FALSE | 60 | #DIV/0! |  | FALSE | 60 | #DIV/0!
[10 empty] | FALSE | 61 | #DIV/0! |  |  |  | FALSE | 61 | #DIV/0! |  | FALSE | 61 | #DIV/0!
[10 empty] | FALSE | 62 | #DIV/0! |  |  |  | FALSE | 62 | #DIV/0! |  | FALSE | 62 | #DIV/0!
[10 empty] | FALSE | 63 | #DIV/0! |  |  |  | FALSE | 63 | #DIV/0! |  | FALSE | 63 | #DIV/0!
[10 empty] | FALSE | 64 | #DIV/0! |  |  |  | FALSE | 64 | #DIV/0! |  | FALSE | 64 | #DIV/0!
[10 empty] | FALSE | 65 | #DIV/0! |  |  |  | FALSE | 65 | #DIV/0! |  | FALSE | 65 | #DIV/0!
[10 empty] | FALSE | 66 | #DIV/0! |  |  |  | FALSE | 66 | #DIV/0! |  | FALSE | 66 | #DIV/0!
[10 empty] | FALSE | 67 | #DIV/0! |  |  |  | FALSE | 67 | #DIV/0! |  | FALSE | 67 | #DIV/0!