## PoI viewpoint
PoI # | Purpose of Investigation | Type of effect | Short explanation | 1) Target Metric(s) | Formula | 2) Factors in screening | Ranked factors
1 | Screening effects and variability of key optimisation targets on available parameters | uncertainty |  | Degradation_Li, Losses_HESS
2 | Characterization of first order and higher order effects of selected parameters | sensitivity
3 | Non-linear Characterisation of input-output effects for identified key parameters | sensitivity
4 | Validation

## SC Definition & Diagrams
System Component List
ID | Subs. # | Subsystem Name | Comp. # | Component Name | Description | System Breakdown Example
1.1 | 1 | Control System | 1 | Controller | real-time controller
2.1 | 2 | Energy Storage | 1 | Super Cap (SC)
2.2 | 2 | Energy Storage | 2 | Lithium Battery |  | System Configuration
2.3 | 2 | Energy Storage | 3 | VRB
3.1 | 3 | Grid | 1 | PCC | point of common coupling
4.1 | 4 | Framework | 1 | sampler
Pset_HESS
Controller
[9 empty] | rf | sc
[8 empty] | Pset_SC |  | Pset_Li |  |  | Pset_VRB
[7 empty] | Super Capacitor |  | LithiumBattery |  |  | Vanadium-Redox Flow Battery
[7 empty] | SC | P_SC,max | Li | P_Li,max |  | VRB |  | P_VRB,max
[7 empty] | eta_SC | E_SC,max | eta_Li | E_Li,max |  | eta_VRB |  | E_VRB,max
[8 empty] | P_SC_meas |  | P_Li_meas |  |  | P_VRB_meas
P_HESS_meas

## Diagrams
System Breakdown (structure)
Controller
|  | rf | sc
| Pset_SC |  | Pset_Li |  | Pset_VRB
Super Capacitor |  | Lithium battery |  | Vanadium-Redox Flow Battery
SC | P_SC,max | Li | P_Li,max | VRB |  | P_VRB,max
eta_SC | E_SC,max | eta_Li | E_Li,max | eta_VRB |  | E_VRB,max
| P_SC_meas |  | P_Li_meas |  | P_VRB_meas
P_HESS_meas

## SC Parameter Analysis
Param | Component |  | Parameter Name | Unit | Default Value | Range | Range | Type of uncertainty | Randomness or Lack of Knowledge/Data? | Uncertainty Representation Type | Short explanation | 1) Potential factor? | PoI # | PoI Target metric(s) | 2) Factor in screening? | Factor ranking | Mapping | Target 2 (for trade-off analysis) | Target 3 (for trade-off analysis)
idx | Name | SC Subsystem ID |  |  |  | min | max |  | (automatic suggestion)
Device1-1.1-[Parameter Name] | Device1 | 1.1 | [Parameter Name] |  |  |  |  | Uncertain parameter | epistemic and aleatory | Set |  | X | 1 | [type in Target names - if multiple metrics are listed, use ";" as separator] | X | level (1... 3) | Range of parameter values or deviation from default value
[8 empty] | model (structure) uncertainty | epistemic |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A
[9 empty] | #N/A |  |  |  |  | #N/A

## ES viewpoint
Name | Experiment Setup Type | Representational Uncertainty | Short explanation | Other Type of RI Uncertainty | Short explanation | Precision of equipment | Measurement Uncertainty
| Pure simulation/monolithic/single RI | Model accuracy Type of simulation (EMT vs RMS vs Power Flow) | Simulation setup with same controller as in Lab, but with simplified storage models. Model quality uncertain | Simulator Limitations Computanional capacity | Add your own text | fixed Round-trip delay of 1s | power measurement is 1s delayed
| Pure HW/Single RI | Lab feasible grid parameters | Full HW setup with custom interfaces - i.e. interfaces are not commercial type; fixed 1s sampling; input data extrinsic | Measurement | power and SOC measurement; epsecially SOC is device-automation dependent and thus source of uncertainty

## Taxonomy
Type of Uncertainty | Classification of Uncertainty | Type of Representation | relation to model | PoI effect type | Experiment Setup Type | Representational uncertainty | Other type of RI uncertainty
seasonal and random variability | epistemic and aleatory | Interval |  | uncertainty | Pure simulation/monolithic/single RI | Model accuracy Type of simulation (EMT vs RMS vs Power Flow) | Simulator Limitations Computanional capacity
spatial uncertainty | epistemic and aleatory | Distribution |  | sensitivity | Pure simulation/Co-simulation/single RI | Model accuracy Type of simulation (EMT vs RMS vs Power Flow) | Synchronization and interface between multi-vendor simulation platforms with different time scales Synchronization and interface between multiple domain simulations at different time scales Computanional capacity
seasonal variability and spatial uncertainty | epistemic and aleatory | P-Box |  | scaling effect | Pure simulation/monolithic/multiple RIs | Model accuracy Type of simulation (EMT vs RMS vs Power Flow) | Signal exchange synchronization due to communication delays (only for the case of online/real-time data exchange) Package loss Computational capacity
uncertain initial state | epistemic and aleatory | Set |  |  | Pure simulation/Co-simulation/multiple RIs | Model accuracy Type of simulation (EMT vs RMS vs Power Flow) | Signal exchange synchronization due to communication delays (only for the case of online/real-time data exchange) Package loss Computational capacity
Uncertain parameter | epistemic and aleatory | Fuzzy Set |  |  | HIL/single RI | Limited bandwidth of the HIL setup Experimental measurement (e.g. sensor noise, signal convension card quantization noise) Time-steps of the real-time simulator HIL setup time delay and instability Limited capability of the power amplifier for PHIL test (voltage level, power capability) Model accuracy I/O cards' sampling rate
control parameter | epistemic | Fuzzy Interval |  |  | PSIL/single RI | Model accuracy
model (structure) uncertainty | epistemic | Dempster-Shafer Structure (DSS) |  |  | HIL/multiple RIs | Limited bandwidth of the HIL setup Experimental measurement (e.g. sensor noise, signal convension card quantization noise) Time-step difference of the real-time simulator for each RI HIL setup time delay and instability Limited capability of the power amplifier for PHIL test (voltage level, power capability) Model accuracy | Signal exchange synchronization due to communication delays (only for the case of online/real-time data exchange) Package loss
model uncertainty | epistemic | Random Fuzzy Variables (RFV) |  |  | Pure HW/Single RI | Lab feasible grid parameters | Measurement
(white) noise | aleatory |  |  |  | Pure HW/Multiple Ris |  | Signal exchange synchronization due to communication delays (only for the case of online/real-time data exchange) Package loss
Other combination